## LOAS LIST
Document Title: |  |  |  | Basic Electrical Load List
Document Number : |  |  |  | Project No. |  | Area |  | Unit |  | Dis. |  | Doc. | Seq. |  | Rev.
Item | Bus No. | Tag Number | Description | BHP or Nominal Power (Kw) | Rated Power (Kw) | Voltage (V) | Nominal Speed (rpm) | Power Factor | EffIciency (%) | Load Factor | Load Category | Operation Duty | Cycle Factor | Starter Feeder Type | Kind Of Load | Is / In | Normal Absorbed Power (at run. Cond.) |  | Essential & Vital Absorbed Power (at run. Cond.)
[17 empty] | P (KW) | Q (KVAr) | P (KW) | Q (KVAr)
|  | 20-MV-SWG | 20 KV SWITCHGEAR
1 | A | TR-24-01A | 20/6.3 KV Transformer
2 | B | TR-24-01B | 20/6.3 KV Transformer
3 | B | TR-26-01A | 20/0.4 KV Transformer
4 | A | TR-26-01B | 20/0.4 KV Transformer
|  |  | TOTAL | TOTAL LOAD = 1.2 x CONNECTED LOAD (20% FOR SPARE)
|  | 6.3-MV-MCC | 6.3 KV SWITCHGEAR AND MCC
1 | A | C-1001A | Water Pump | 235 | [7 empty] | C
2 | B | C-1001B | Water Pump | 235 | [7 empty] | S
3 | B | C-4001A | Air Compressor | 410 | [7 empty] | C
4 | A | C-4001B | Air Compressor | 410 | [7 empty] | S
|  |  | TOTAL | TOTAL LOAD = 1.20 x CONNECTED LOAD (20% FOR SPARE)
|  | LV-SWG | MAIN LV SWITCHGEAR
1 | B | P-6002A | MP BFW Pump | 105 | [7 empty] | C
2 | A | P-6002B | MP BFW Pump | 105 | [7 empty] | S
3 | A | UPS-01 | AC UPS | 35 | [7 empty] | C
4 | B | UPS-02 | DC UPS | 55 | [7 empty] | S
5 | A | LP | Lighting Panel | 190 | [7 empty] | C
6 | B | MDP | Main Distribution Panel | 230 | [7 empty] | C
7 | A | CB-01 | Capacitor Bank
8 | B | CB-02 | Capacitor Bank
|  |  | TOTAL | TOTAL LOAD = 1.20 x CONNECTED LOAD (20% FOR SPARE)